## ACLS Catalogue
Research Node | Resource | Description | Location
Bioanalytical Mass Spectrometry Facility | FOCUS DSQ GC-MS (F10) | The Thermo DSQ II GC-MS instruments are our most up-to-date instruments for analysis of compounds that are sufficiently volatile to enter the gas phase intact. The Focus DSQ II GC-MS instrument at our Lower Campus mass spectrometry facility is configured as an electron impact (EI+) only system and is dedicated to analysis of gaseous environmental samples and for trace level analysis of underivatised volatile organic molecules in solution. | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | TSQ Quantum Access (E26) | The TSQ Quantum is a high performance triple stage quadrupole mass spectrometer. It includes a syringe pump, a divert/inject valve, an atmospheric pressure ionisation (API) source, and the Xcalibur� data system. You can operate the mass spectrometer in either electrospray ionisation (ESI) mode or atmospheric pressure chemical ionisation (APCI) mode. Typically, polar compounds such as amines, peptides, and proteins are best analysed by ESI, and non-polar compounds such as steroids are best analysed by APCI. | L2 BioSciences Building
Bioanalytical Mass Spectrometry Facility | GE AKTA LC (F10) | AKTA FPLC The GE AKTA Purifier LC system and fraction collector is used predominantly for protein purification, as it has no metal parts. The system has a manual injector, with 3 channel UV and conductivity detectors. The Solvent delivery system is capable of delivering both isocratic and gradient elution, and can be used for both analytical and semi-preparative work and fractionation depending on choice of column used. Major work projects have included the purification and fractionation of cytochrome C and related products. | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | LTQ FT LC-MS/MS (C27) | Thermo Scientific LTQ FT Ultra combines the most advanced Ion Trap and Fourier Transform Ion Cyclotron Resonance (ICR) technologies into a single instrument. The ICR cell design produces enhanced sensitivity and greater dynamic range. It is an ultra high resolution instrument for LC/MS with unprecedented analytical power and versatility. The instrument is provided with ESI, nano ESI and APCI ionization sources and CID and ECD fragmentation technologies. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | 5973B GC-MS (C27) | Agilent HP 5973 MSD A & B Gas Chromatography-mass spectrometry (GC-MS) combines two powerful analytical tools: gas chromatography for the highly efficient gas-phase separation of components in complex mixtures, and mass spectrometry for the confirmation of identity of these components as well as for the identification of unknowns. The HP 6890-5973 GC/MSD allows the analysis of small molecules (m/z 50-800) in a wide range of sample matrices. This system can be operated in electron ionisation (EI) and chemical ionisation (CI) modes. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | QTOF LC-MS/MS (F10)
Bioanalytical Mass Spectrometry Facility | TRACE DSQ GC-MS (C27)
Bioanalytical Mass Spectrometry Facility | 5973A GC-MS (C27) | Agilent HP 5973 MSD A & B Gas Chromatography-mass spectrometry (GC-MS) combines two powerful analytical tools: gas chromatography for the highly efficient gas-phase separation of components in complex mixtures, and mass spectrometry for the confirmation of identity of these components as well as for the identification of unknowns. The HP 6890-5973 GC/MSD allows the analysis of small molecules (m/z 50-800) in a wide range of sample matrices. This system can be operated in electron ionisation (EI) and chemical ionisation (CI) modes. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | 4000 QTRAP LC-MS (C27) | AB SCIEX 4000 QTRAP Quadrupole mass filters provide a robust means of sorting ions in a mass spectrometry experiment. When these mass analysers are incorporated in a triple quadrupole (QQQ) setup, which consists of three quadrupole mass filters in series, various specialised forms of quantitative and qualitative mass spectrometry can be conducted. This is achieved via the use of the first and third quadrupoles (Q1 and Q3, respectively) as mass filters, whilst the second quadrupole (Q2) is utilised as a collision cell in which precursor ions undergo collision-induced dissociation to produce fragment ions. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | QSTAR Elite (C27) | Applied Biosystems QSTAR Elite ABI QStar Elite is a high-performance, hybrid quadrupole Time-of-Flight (TOF) mass spectrometer typically used with electrospray with greater sensitivity and intelligent dependent scan functions. The system is used for protein or peptide characterisation using nano liquid chromatography and data dependent tandem mass spectrometry. The system is currently used for iTRAQ quantification of differentially expressed proteins and these normally combine online multi-dimensional liquid chromatography. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | SHIMADZU HPLC (F10) | The Shimadzu Prominence HPLC system is used for both analytical and semi-preparative separations. The instrument is equipped with fluorescence, photo diode array (PDA), and evaporative light scattering (ELSD) detectors, and is combined with a fraction collector. The instrument has a multitude of set-ups and combination and is capable of delivering both isocratic and gradient solvent elution from 0.2 to 10.5 mL/minute. | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | 7890A AGILENT GC (F10) | Agilent 7890 GC The Agilent 7890 is one of the high performance gas chromatographs that provide superior performance for all applications. The key to its performance is the use of advanced EPC (electronic pneumatic control) modules and high performance GC oven temperature control which allows for fast and precise temperature ramping. These specifications provide optimal chromatography including peak symmetry, repeatability of retention time and accuracy in retention time index. Agilent 7890A is expected to have retention time repeatability <0.008% or <0.0008min and area repeatability <1%RSD. | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | SPEEDVAC - General (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | VACUUM MANIFOLD (C27)
Bioanalytical Mass Spectrometry Facility | SHIMADZU XR UFLC (F10) | The Shimadzu XR Prominence HPLC system is used for analytical separations. The instrument has a binary pump set-up to allow both isocratic and gradient elution at high back pressures (circa 14 000 Psi), and is equipped with a photo diode array detector (PDA). A wide range of separations are performed on the instrument encompassing both normal and reverse phase conditions, with a wide variety of column chemistries utilised for identification and quantitative analysis. | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | LTQ Orbitrap LC-MS (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | Orbitrap Velos ETD LC-MS/MS (C27) | Orbitrap mass analysers are recognised for their ability to produce ultra high mass accuracy and resolution measurements; these performance capabilities allow mass spectrometry results to be interpreted with a significant degree of confidence. The Orbitrap Velos ETD is a hybrid instrument that incorporates both Orbitrap and linear ion trap mass analysers; both 1D and 2D nano liquid chromatography (LC) separations can be interfaced to this instrument. This platform allows the benefits of Orbitrap mass analysis to be exploited in highly sensitive experiments. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | LTQ Velos Orbi LC-MS/MS (E26) |  | Room 2012, E26 (Biosciences Precinct)
Bioanalytical Mass Spectrometry Facility | Progenesis Computer (C27) |  | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | iTC (E26) |  | L2 BioSciences Building
Bioanalytical Mass Spectrometry Facility | TSQ Vantage LC-MS/MS (C27)
Bioanalytical Mass Spectrometry Facility | DSC (E26) |  | L2 BioSciences Building
Bioanalytical Mass Spectrometry Facility | TSQ QUANTUM XLS GC-MS/MS (C27) | The TSQ XLS is a triple quadrpole mass spectrometer and it is equipped with gas chromatographic sample separation. The instrument is capable of Electron Impact and Chemical Ionization modes and can operate in either positive and negative ion polarities. The instrument is used predominately for small molecule quantitiave analysis. | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | TSQ Quantum Vantage (E26) |  | L2, BioSciences Building
Bioanalytical Mass Spectrometry Facility | MALDI TOF/TOF (E26) | Bruker ultrafleXtreme MALDI-TOF/TOF Capable of MALDI imaging | L2, BioSciences Building
Bioanalytical Mass Spectrometry Facility | 5600 TripleTOF LC-MS/MS (E26) | AB SCIEX 5600 TripleTOF | L2, BioSciences Building
Bioanalytical Mass Spectrometry Facility | QExactive Small Molecule (E26) | QExactive # Small Molecule (LC) | L2, BioSciences Building
Bioanalytical Mass Spectrometry Facility | QExactive Protein (C27) | QExactive # Protein (UC) | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | Infinity 1290 UHPLC (C27) |  | 402
Bioanalytical Mass Spectrometry Facility | SHIMADZU GPC HPLC (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | Shimadzu 8030 LCMS (F10) |  | B50, building F10
Bioanalytical Mass Spectrometry Facility | Ingenuity Pathway Analysis (IPA) (C27) | Ingenuity Pathway Analysis (IPA) Booking for usage of Software required | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | Fusion LUMOS (C27) | Orbitrap Fusion Lumos | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | EA-IR-MS for C/N and H/O isotope ratio analysis of organics |  | B50, Building F10
Bioanalytical Mass Spectrometry Facility | Wyatt Asymmetric Flow Field Flow Fractionation - AF4 (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | Wyatt Asymmetric Flow Field Flow Fractionation - AF4 (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | Wyatt Asymmetric Flow Field Flow Fractionation - AF4 (F10) |  | B50, F10 (Chemical Sciences Bld)
Bioanalytical Mass Spectrometry Facility | LTQ-XL ETD (C27) |  | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | LTQ-XL ETD (C27) |  | Room 401, C27 (Wallace Wurth Bld)
Bioanalytical Mass Spectrometry Facility | QExactive HF (E26) | QExactive HF | L2, BioSciences Building
Bioanalytical Mass Spectrometry Facility | Surveyor LC-UV with Fluorescence Detector (E26) | Surveyor LC-UV with Fluorescence Detector | L2, BioSciences Building
Biological Resources Imaging Laboratory | MILabs U-CT |  | KENC-C25-B-B09
Biological Resources Imaging Laboratory | VisualSonics Vevo 2100 Ultrasound | The VisualSonics Vevo2100 uses the new solid-state transducers which offer higher resolution at multiple focal depths. The system offers superior resolution down to 30--m, a wide range of frequencies (13-56 MHz) and a large field of view. Importantly, the Vevo2100 offers a comprehensive imaging and processing packing. - Color and Power Doppler Modes for blood flow quantification & anatomical identification - M-Mode single line acquisition allowing high-temporal resolution for LV functional analysis - Anatomical M-Mode for adjustable anatomical orientation in reconstructed M-Mode imaging - 3D-Mode Imaging & Volume Analysis - Nonlinear Contrast Imaging - VevoStrain analysis software for cardiac research | KENC-C25-B-B07A
Biological Resources Imaging Laboratory | Level 4 analysis computer 1 | LEVEL 4 ANALYSIS COMPUTER 1 | Level 4 Lowy Cancer Research Centre (C25)
Biological Resources Imaging Laboratory | (FLOW) BD LSRFortessa
Biological Resources Imaging Laboratory | (FLOW) BD Influx
Biological Resources Imaging Laboratory | X-Rad 320 Biological Irradiator |  | KENC-C25-B-B07A
Biological Resources Imaging Laboratory | (FLOW) BD FACSAria II
Biological Resources Imaging Laboratory | (FLOW) BD FACSJazz
Biological Resources Imaging Laboratory | (FLOW) BD FACSCanto II (A)
Biological Resources Imaging Laboratory | Bruker BioSpec Avance III 94/20 | MRI-Bruker-BioSpec-94/20 | KENC-C25-B-B17
Biological Resources Imaging Laboratory | (FLOW) test instrument
Biological Resources Imaging Laboratory | (FLOW) BD FACSCanto II (B)
Biological Resources Imaging Laboratory | IVIS SpectrumCT | IVIS SpectrumCT The IVIS SpectrumCT pre-clinical in vivo imaging system expands upon the versatility and advanced optical feature sets of the IVIS and Maestro platforms integrated with low dose microCT to support longitudinal imaging. The IVIS SpectrumCT enables simultaneous molecular and anatomical longitudinal studies, providing researchers with essential insights into complex biological systems in small animal models. The constant horizontal gantry motion and the flat panel detector provide low-dose imaging and automated optical and microCT integration. The stable revolving animal platform table rotates 360 degrees to acquire full 3D data. Multiple animals can be scanned simultaneously while maintaining an average dose per scan at about 13mGy, with a scanning and reconstruction time of less than a minute. Optical and microCT modalities can also operate independently. Multispectral fluorescence imaging (400-900nm wavelength) can be performed with the system for 2D or 3D imaging. Deep tissue detection and quantification can be achieved through trans-illumination available on this system. The system is fully equipped with its own isoflurane anaesthetic system and is capable of imaging up to five mice simultaneously. | KENC-C25-B-B09
Biological Resources Imaging Laboratory | EchoMRI | The EchoMRI-900 uses the principle of nuclear magnetic resonance (NMR) to ----easure the fat, lean, free water and total water mass of a mouse or rat. It provides a fast and non-invasive way to acquire body composition data, facilitating longitudinal studies with little to no impact on animal welfare. During measurements the animals are physically restrained using cylindrical holders, therefore no anaesthesia or sedation is required. The four measurements taken are: Fat (all fat molecules in the body) Lean (tissues containing water, excluding fat, bone minerals, and substances that do not contribute to the NMR signal, such as hair and claws) Free Water (water contained in urine) Total Water (water contained urine, tissue and blood) All measurements are expressed in grams and data is easily exported into Excel or ASCII file formats. | KENC-C27-LG-LG19
Biological Resources Imaging Laboratory | Biovet 1 | The BioVet physiological monitoring system can monitor ECG, respiration and body temperature for animals under anaesthesia, as well as providing thermoregulatory support and capabilities for triggering/gating during imaging experiments. | All BRIL
Biological Resources Imaging Laboratory | Biovet 2 | The BioVet physiological monitoring system can monitor ECG, respiration and body temperature for animals under anaesthesia, as well as providing thermoregulatory support and capabilities for triggering/gating during imaging experiments. | All BRIL
Biological Resources Imaging Laboratory | iThera MSOT | Optoacoustic or photoacoustic imaging is a new, cutting-edge imaging technique which detects ultrasound waves following light absorption from specific molecules. This technique allows molecules with different spectral profile to be detected. For example, the different spectral properties of oxygenated haemoglobin and deoxygenated haemoglobin can be used for monitoring changes in soluble oxygen of tissue and organs, allowing quantification of vascular changes without a contrast agent. Advancements in the development of nanoparticles and infrared fluorescent reporters that are detectable by optoacoustics have also increased the possibilities of molecular imaging. Gold nanoparticles are an example of contrast agent that can be visualised with optoacoustics and microCT scan. The Multispectral Optoacoustic Tomography (MSOT) inVision256-TF (iThera Medical) was acquired with the help of the Cancer Institute NSW equipment grant 2014. It is the only system capable of multispectral tomographic imaging of an entire mouse and will expand our ability for multimodal imaging. | KENC-C25-B-B09
Biological Resources Imaging Laboratory | (BIOREPOSITORY) Qiagility | The QIAgility is a compact benchtop instrument that enables rapid, high-precision setup of PCR experiments with ready-to-use software for ease and convenience. The software provides step-by-step guidance for worktable setup and automatic calculation of all mixes, eliminating the need to program pipetting steps. Just select the kit and cycler, define your targets and start the run | Lowy LG19
Biological Resources Imaging Laboratory | Inveon microCT
Flow Cytometry Core Facility | (FLOW) BD LSRFortessa SORP | The BD LSRFortessa# cell analyzer offers the ultimate in choice for flow cytometry, providing power, performance, and consistency. Designed to be affordable and expandable, the BD LSRFortessa has the | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) BD Influx | The BD Influx# cell sorter is equipped with five excitation lasers (ultraviolet 355nm, violet 405nm, blue 488nm, yellow/green 561nm and red 642nm) and has a flexible detection configuration with a num | KENC-C25-LG-LG21
Flow Cytometry Core Facility | (FLOW) BD FACSAria III | The BD FACS Aria IIIu# cell sorter allows users to set-up and run their own experiments on an instrument that is calibrated and maintained by BRIL flow cytometry specialists (operators can assist/run s | E26 BIOSCIENCES L2 ROOM 2107
Flow Cytometry Core Facility | (FLOW) BD FACSJazz | The BD FACS Jazz# II Cell Sorter is equipped with 2 excitation lasers (blue 488nm and red 642nm) and has a flexible detection configuration detecting up to 8 parameters (6 fluorescence channels, forwa | KENC-C25-LG-LG21
Flow Cytometry Core Facility | (FLOW) BD FACSCanto II | The BD FACSCanto# family of benchtop analyzers features reliable performance and accurate results for experiments requiring up to 10 parameters. Numerous innovations make the system easy to use, powe | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) Zetasizer Nano ZS | The Zetasizer Nano Z is the perfect system for measuring zeta potential and electrophoretic mobility of colloids and nanoparticles, when the measurement of size or molecular weight is not required. | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) BD FACSVerse | The BD FACSVerse# flow cytometer is designed to support cell analysis for research applications using up to 10 parameters. Hardware innovations ensure the reliability of results and signal resolution. | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) NanoSight NS300 | The Malvern NanoSight NS300 Instrument provides an easy-to-use, reproducible platform for nanoparticle characterization. The NS300 allows rapid, automated analysis of the size distribution and concen | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) BD LSRFortessa X20 | The BD LSRFortessa� X-20 cell analyzer delivers high-performance multicolor analysis with the most compact footprint in its class. The analyzer is configured with 5 lasers to detect up to 20 parameters simultaneously to support ever increasing demands in multicolor flow cytometry. A wide range of up to 34 laser choices is available as excitation sources, including blue, red, violet, yellow-green, and UV | KENC-C25-LG-LG20
Flow Cytometry Core Facility | (FLOW) BD FACSAria II | The BD FACS Aria II cell sorter allows users to set-up and run their own experiments on an instrument that is calibrated and maintained by BRIL flow cytometry specialists (operators can assist/run s | E26 BIOSCIENCES L2 ROOM 2107
Biomedical Imaging Facility | Picoquant Microtime 200 | The Microtime200, manufactured by the German-based PicoQuant GmbH, is generally used in conjunction with the TCS SP5 microscope. By using the lasers from the TCS SP5, the Microtime200 is capable of me
Biomedical Imaging Facility | Picoquant Microtime 200 | The Microtime200, manufactured by the German-based PicoQuant GmbH, is generally used in conjunction with the TCS SP5 microscope. By using the lasers from the TCS SP5, the Microtime200 is capable of me
Biomedical Imaging Facility | Zeiss PALM | The Zeiss Elyra Superresolution Microscope is a developmental superresolution microscope with capabilities to push imaging past the classic diffraction limit. Typically visible light microscopes canno
Biomedical Imaging Facility | Zeiss SD/TIRF | The newest addition to our collection, the Axio Observer X.1 SD & TIRF is a custom-built microscope from the manufacturer, Zeiss. The BMIF commissioned Zeiss to design and manufacture two microscopy t
Biomedical Imaging Facility | Leica DMIL | The Leica DM IL microscope is used to illuminate whole cells; observing and analysing a cell as a single entity. The DM IL is an inverted epifluorescence microscope, with transmitted light LED back il
Biomedical Imaging Facility | Data Analysis Computer
Biomedical Imaging Facility | AFM_MM8 (F10) | The Bruker MultiMode# 8 (MM8) is an advanced atomic force microscope (AFM) and Scanning Tunnelling Microscope (STM). Its PeakForce Tapping technology enables exceedingly low tip-sample force interacti
Biomedical Imaging Facility | AFM_Catalyst (Lowy) | The Bruker BioScope Catalyst----Atomic Force Microscope (AFM) system can provide high resolution (nm) topographical data of biological systems such as living cells. The instrument works in tandem with an inverted optical microscope, which is also capable of fluorescence microscopy and has a heated stage for live cell imaging. ---- The optical microscope allows for the quick location of regions of interest on a sample which can then be imaged at higher resolution with the scanning probe microscope. The AFM creates high-resolution images of a sample---- surface by scanning a sharp tip over the sample and measuring the changes in the tip via the deflection of a laser on the tip head. The Catalyst is also capable of overlaying optical images with the high resolution AFM images using the MIRO (Microscope Image Registration and Overlay) software package. ---- The AFM supports measurements in PeakForce QNM (Quantitative Nanomechanical Mapping), Quantitative Force-Volume Mapping, and Single Force Curve Imaging. All of these capabilities can be run using the ScanAsyst feature which automatically optimises imaging parameters for dried samples in air, or for samples immersed in fluid. ---- The highlight of the Bruker BioScope Catalyst is its proprietary PeakForce QNM imaging mode that allows for the simultaneous acquisition of multiple sample properties including topology, modulus, adhesion and deformation. The new PeakForce Capture----feature allows for the capture and analysis of individual force curves at each pixel of the image. This makes the Bruker BioScope Catalyst AFM particularly powerful in determining the stiffness of live cells.
Biomedical Imaging Facility | Leica SP5 WLL gSTED | The Leica TCS SP5 equipped with a pulsed white light laser (WLL), gated HyD detectors and cw gated STED is an inverted confocal laser scanning microscope. It is designed for high-resolution fluorescen
Biomedical Imaging Facility | Eclipse Ti-E | Nikon Eclipse TiE is one of the latest additions of life cell imaging microscopes in BMIF. It is an inverted microscope equipped with motorized stage enabling imaging of 6, 12, 24 and 96 glass bottom
Biomedical Imaging Facility | Biostation | Nikon Biostation is an inverted life cell imaging microscope enclosed in an incubator. The stage and objective are fully enclosed in temperature modulated box resulting in no focus drift during imagin
Biomedical Imaging Facility | Lavision Intravital | This intravital microscope boasts an impressive collection of hardware. Equipped with 2 multiphoton lasers utilising a pre-chirp compensator to keep laser pulse width < 150 fs, a collection of detectors including high sensitive NDD detectors close to the objective lens, descanned PMTs, imaging cameras for fast 64 beam scanning and also LaVision BioTec-s FLIM x16 TCSPC detector for rappid fluorescence lifetime measurements.
Biomedical Imaging Facility | IncuCyte | The IncuCyte FLR is a widefield inverted live cell system engineered with long term high throughput imaging in mind. Housed inside a tissue culture incubator, the imaging module maintains the most sta
Biomedical Imaging Facility | Zeiss LSM 780 | The Zeiss LSM 780 is a high-sensitivity laser scanning confocal module. This instrument complements and extends our established group of confocal microscopes and allows for rapid acquisition of optica
Biomedical Imaging Facility | TILL photonics TIRF | The TILL Photonics TIRF system is specially designed for single-molecule imaging with two high-sensitivity Andor iXon 897U EMCCD cameras, 100x 1.46 NA oil immersion and 10x 0.3 NA air objectives, and
Biomedical Imaging Facility | Intravital 3i VIVO | The 3i VIVO microscope is ideally suited for intravital imaging. Its large stable stage can easily accommodate sizable tissue samples along with clamps and manipulators to aid stabilization. Equipped with a spinning disk unit for high speed optical sectioning, paired with an image intensifier, this system can achieve very high frame rates making the most of every photon. Additionally, a pulsed 532nm ablation laser is available for targeted tissue damage.
Biomedical Imaging Facility | Intravital Nikon A1 | The Nikon A1 intravital microscope is an inverted confocal system designed for fast stable imaging over time. With two scanners, a standard Galvano scanner for achieving images with a high signal-to-noise ratio and a resonant scanner for when speed is of upmost importance, this system is suitable for a wide range of experiments. Equipped with 4 dedicated PMTs for reflective/fluorescence imaging, 2 of which as high efficiency GaAsP detectors, and a hardware solution (Perfect Focus System) for preventing drift during imaging this system yields both high sensitiy with speed and stability.
Biomedical Imaging Facility | FluoroMax - 4
Biomedical Imaging Facility | Intravital Surgery ScanOptics
Biomedical Imaging Facility | Olympus FV1200 | The Olympus Fluoview FV1200 has four (405, 488, 561 and 633) lasers which illuminate fluorescence proteins for cell observation and analysis. At the BMIF we use the Fluoview FV1200 as our training mic | LG23
Biomedical Imaging Facility | Zeiss Laser Microdissection | -PALM MicroBeam IV- Laser Microdissection System - | High-end configuration including Robomover collection device for precise c
Biomedical Imaging Facility | Zeiss Lightsheet Z.1 | Lighsheet microscopy is a fluorescence-based imaging technique that is growing in popularity. It outperforms other techniques in its ability to rapidly capture large optically sectioned three dimensional datasets, whilst keeping photo-toxicity and bleaching to a minimum. It therefore lends itself well to imaging samples larger than those typically attempted by conventional fluorescence microscopy such as tissues, whole organs and even embryo development.
Biomedical Imaging Facility | Aperio XT Slide Scanner
Biomedical Imaging Facility | Aperio FL Slide Scanner
Biomedical Imaging Facility | Leica RM2135 manual microtome | Paraffin microtome | BSP Main Laboratory
Biomedical Imaging Facility | Chemicon Advanced Tissue Arrayer | Tissue Arrayer | BSP Main Laboratory
Biomedical Imaging Facility | Thermo Scientific Histostar paraffin embedding station |  | BSP Main Laboratory
Biomedical Imaging Facility | Shandon Excelsior ES Tissue Processor |  | BSP Main Laboratory
Biomedical Imaging Facility | STAT LAB Leica CM1950 Cryostat | ONLY FOR STAFF USE WHEN TRACKING SAMPLES. THIS CAN ONLY BE BOOKED VIA SOMS BOOKING WEBSITE.
Biomedical Imaging Facility | Zeiss LSM 880 | The Zeiss LSM 880 is an inverted laser scanning confocal microscope equipped with high quantum efficiency GaAsP detector and 2 multialkali PMTs, which can be used as single point detectors or combined for 34 channel spectral imaging. In addition, the Airyscan module can deliver images with 1.7 x improved resolution (140nm axially, 400 nm laterally) and 4-8 x greater signal-to-noise ratio, at the highest speed of any linear scanning confocal system. BiG.2 Type A (2x GaAsP detectors) non-descanned detectors for the multi-photon laser can be used for imaging thick specimens, with deeper penetration and decreased phototoxicity compared to single photon lasers. The Picoquant system utilises the multi-photon laser to perform Fluorescence Lifetime Imaging (FLIM), Fluorescence Correlation Spectroscopy (FCS), Forster Resonance Energy Transfer (FRET). The Zeiss 880 is also equipped with polarisers for anisotropy measurements.
Biomedical Imaging Facility | Nikon A1 Spectral Confocal Microscope
Biomedical Imaging Facility | HAL (Data Analysis Machine 2)
Biomedical Imaging Facility | Marvin (Data Analysis Machine 3)
Biomedical Imaging Facility | Orac (Data Analysis Machine 1)
Biomedical Imaging Facility | BMSF HPC 1
Biomedical Imaging Facility | Nikon TIRF/HiLo
Biomedical Imaging Facility | Leica SP8 DLS | The Leica SP8 DLS (Digital Light sheet) is equipped with the standard array of lasers to cover standard dyes, including those in the far red. Additionally it has a lightsheet mode enabling rapid 3-dimensional imaging with minimal photo-bleaching and photo-toxicity to the sample
Biomedical Imaging Facility | Amira
Biomedical Imaging Facility | Intravital Dissecting Microscope
Biomedical Imaging Facility | CryoStar NX70 Cryomicrotome |  | WW 454
Biomedical Imaging Facility | Nikon N-STORM TIRF
Biomedical Imaging Facility | Zeiss CD7 | The Zeiss Cell Discoverer 7 is a new (2018) addition to the BMIF-s live cell range of microscopes. It stands out as the only instrument as of yet capable of performing robust multipoint experiments with a water immersion objective.
Biomedical Imaging Facility | Zeiss LSM 800 | The Zeiss LSM 800 is an inverted Zeiss Axio Observer Z1 laser scanning confocal microscope equipped with high quantum efficiency GaAsP detector, 2 multi-alkali PMTs and DIC optics for trans-illumination microscopy with each objective. In addition, the Airyscan module can deliver images with 1.7 x improved resolution (120 nm in x / y and 350 nm in z) and 4-8 x better signal-to-noise ratio, with fast linear scanning. Therefore, Airyscan works with thicker samples such as fixed tissue sections or whole animal mounts that need a higher penetration depth. LSM 800 provides sensitive image acquisition leading to better flexibility in live cell imaging and high-end image quality, well suited for various research areas. The high sensitivity of the detectors allows detection of weak fluorescent signals while employing low levels of laser illumination and rapid frame rates. The system is capable of spectral imaging and unmixing, and remove autofluorescence background from low signals in fixed brain tissue. The acquisition software can acquire and stitch tiled images of samples too large to fit within the field of view. It can easily be programmed to capture images of multiple regions on a slide or multi-well plate.
Biomedical Imaging Facility | Picoquant Microtime 200 STED | The Microtime200, manufactured by the German-based PicoQuant GmbH, is generally used in conjunction with the TCS SP5 microscope. By using the lasers from the TCS SP5, the Microtime200 is capable of me
Biomedical Imaging Facility | LiveCyte Analysis Machine
Biomedical Imaging Facility | Nikon TiE2 | Nikon Eclipse TiE2 is one of the latest additions of life cell imaging microscopes in BMIF. It is an inverted microscope equipped with motorized stage enabling imaging of 6, 12, 24 and 96 glass bottom
Biomedical Imaging Facility | Nikon TiE2 Systems Microscopy | Nikon Eclipse TiE2 is one of the latest additions of life cell imaging microscopes in BMIF. It is an inverted microscope equipped with motorized stage enabling imaging of 6, 12, 24 and 96 glass bottom
Biomedical Imaging Facility | Operetta CLS
Electron Microscope Unit | Avizo 1(No charge) | Avizo 3D image analysis workstation | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Avizo 2(No charge) | Avizo 3D image analysis workstation | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | C. Coater |  | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | C. P. Dryer |  | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | EDAX TSL EBSD
Electron Microscope Unit | EPMA 8500 | JEOL JXA-8500F Field-Emission SEM-EPMA Hyperprobe (WDS & SDD-EDS) The JEOL JXA-8500F is a powerful microanalytical instrument that provides area-specific quantitative elemental results down to the sub-micron level. The electron probe microanalyser (EPMA) is fitted with four wavelength dispersive spectrometers (WDS) and a JEOL silicon drift detector energy dispersive spectrometer (SDD-EDS), giving this instrument the capability to detect and measure the concentration of most elements in the periodic table Z=4), with detection limits often better than <0.05%. In addition to its conventional microprobe capabilities, the instrument�s Schottky field-emission gun allows non-conventional low-kV work to be undertaken while maintaining a stable, highly-focused, high current (up to >100nA) beam. Quantitative analysis may be carried out on the bulk matrix of micro-sampled materials as well as on phases, inclusions, grain boundaries or precipitates in a matrix. Examples of materials analysed using the JXA-8500F include geological specimens, fuel cells, implantable bionics, archaeological artefacts, metals/alloys and glasses. Sample holders are available that accommodate 26mm (1-) diameter resin-mounted specimens and petrographic thin sections/wafers. Samples need to be dry, flat, conductive and vacuum-stable for EPMA analysis. Usually, small pieces of an item are embedded in resin or mounted on a glass slide, polished to a mirror finish and then coated with a layer of carbon for conductivity. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | FIB Auriga | The Carl Zeiss AURIGA� CrossBeam� Workstation (installed in 2011) is a sophisticated multi-functional platform based on a high performance field emission scanning electron microscope (FESEM) combined with a powerful focused ion beam (FIB) system operating in the analogue mode. It is equipped with an advanced Oxford Instruments� X-Max large area (20mm2) silicon drift detector (SDD) energy dispersive spectrometer (EDS) and a super high speed NordlysF detector electron back-scattered diffraction (EBSD) analytical system. The AURIGA can be used to examine a wide range of dry and conductive specimens (coating prior to loading into the chamber is required for non-conductive materials). Its unique stage motion control system enables it to hold a wide range of sample sizes and also to navigate between multiple indexed samples. The specially designed ultra-thin film EDS detection capacity (<50nm thick surface layer for 15kV) make it possible for simultaneous FIB slice milling and EDS mapping. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | FIB NanoLab | The FEI xT Nova NanoLab 200 combines a high resolution focussed ion beam (FIB) and a high resolution field emission scanning electron microscope (FESEM). It was installed in 2004 and is a flagship instrument of Australian Microscopy and Microanalysis Research Facility (AMMRF). It was upgraded to PIA mode in 2011 for higher precision of ion milling on a new operating system. The dual beam FIB is very useful for the investigation of material surface and subsurface. It could be applied to all dry solids, including metals, ceramics, semiconductors, polymers, and biomaterials etc. The operating software provides means of automatic programs for the preparation of TEM specimens, script driving micro-patterning, as well as three dimensional slicing and imaging. A key advantage of the dual beam FIB is that it is suitable for the study on beam sensitive materials, for example, thin films. While the high energetic ion beam is used to image the sample surface or mill the cross session, it induces a certain level of beam damage by sputtering and implantation. To minimise the beam damage, SEM imaging is utilised during the initial setup period, and also to monitor the milling process. The dual beam FIB has a built-in platinum gas injection system, which enables to form a thin layer of Pt deposition on the top of region of interest (ROI). It can be done slowly with the electron beam without any beam damage, or quickly with a weak ion beam with controllable damage on the top surface. The dual beam FIB is also coupled with an Oxford Aztec EDS (X-ray) system. It is used to acquire X-ray emission spectra from the ROI, which enables elemental compositional and phase analysis | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Fischione NanoMill | For TEM sample preparation | B79
Electron Microscope Unit | Grid Plunger(No charge) | For cryo-TEM sample preparation | B61
Electron Microscope Unit | Hitachi IM-4000 Ion Polisher | HITACHI IM-4000 ION POLISHER CAT B | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Leica Lift-Out | LIFT OUT Leica | KENC-F10-B-B71
Electron Microscope Unit | Lift-Out Nikon | LIFT OUT Nikon | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Microtome C | Microtome C | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Microtome RT | Microtome RT | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Microwave Processor(No charge)
Electron Microscope Unit | OXFORD HKL EBSD
Electron Microscope Unit | PFIB Helois G4 | The Helios G4 PFIB UXe is the fourth generation advanced PFIB DualBeam platform for large area sample preparation and analysis in materials characterization labs. The Helios G4 PFIB system combines the unique Elstar electron column with UC+ technology for high-resolution, sub 500eV imaging and endpointing with the high-performance PFIB 2.0 Xenon plasma ion column, for fast, precise, and Ga-free large area sample cross-sectioning and deprocessing. 1. Optimized for large cross-sections and high throughput processing; 20-100 times faster than traditional FIB, and without mechanical damage typically caused during polishing. 2. High resolution FIB imaging delivering outstanding contrast and surface sensitive images. 3. Flexible Accelerating Voltage Range delivers highest throughput and lowest damage to the sample 4. Advanced patterning and prototyping is enabled by multiple Gas induced deposition or enhanced etching. 5. Common hardware and software platform with other FEI products for proven reliability. This PFIB is also equipped with Oxford Symmetry EBSD system and Ultim Max 170 SDD EDS system. The newly developed revolutionary CMOS EBSD detector with FSE imaging functions provides ultra-high speed data acquisition at over 3000 indexed patterns per second (pps), which is up to 30x faster than the best existing CCD-based EBSD detectors. Oxford Ultim Max 170 SDD EDS system is the most sensitive system available in the market for high speed elemental X-ray microanalysis. This large area SDD provides a very high collection efficiency benefitting speed, sensitivity and analytical spatial resolution. This detector also has very good resolution, (< 127eV at Mn Ka, guaranteed on the microscope) and excellent low energy sensitivity with detection of Be guaranteed. Simultaneous acquisition of EDS and EBSD data is achieved using AZtec Synergy integration. Using AZtec Synergy all of the tools to collect integrated data are included in one place without the need to switch from one navigator to another. Simultaneous data collection can be used in Phase Identification where the X-ray data is used to identify candidate phases and the EBSD data used to distinguish the phases and also during mapping where both EBSD and full spectrum EDS data are acquired at the same time, enabling a true characterisation of the sample. For more information contact Charlie Kong (c.kong@unsw.edu.au) | B80, Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Precision Ion Polishing System | For TEM sample preparation | B79
Electron Microscope Unit | SEM 230 | The NanoSEM 230 is a field-emission scanning electron microscope (FE-SEM), which attains ultra-high imaging resolution without the specimen size restrictions of a conventional in-lens FE-SEM due to the advanced design of the electron optics. The NanoSEM 450�s Schottky field-emission source allows the user to achieve high imaging resolution at a range of kV, at both low (high-resolution imaging) and high (microanalytical imaging) currents. Secondary electron (SE) imaging can be undertaken in both field-free and immersion mode for comprehensive low-to-high resolution imaging of a variety of samples. The Nova NanoSEM 230 is configured with a Bruker SDD-EDS detector and can be manually fitted with a backscattered electron detector for the convenient visualisation of compositional differences across the specimen surface. For specialty STEM work, a STEM detector is also available on the NanoSEM 230. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | SEM 3400I | EMU has two Hitachi S3400 SEMs � both are able to do imaging and X-ray microanalysis. These instruments are fitted with secondary and backscatter electron detectors that allow for topographic and compositional (atomic number contrast) surface imaging of samples. These microscopes are routinely used for imaging from ~20x to ~20,000x magnification. The S3400 SEMs are predominantly used in high-vacuum mode, but also have a variable-pressure or �natural� mode that can be useful when imaging vacuum-sensitive specimens or specimens with conductivity problems. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | SEM 3400X | EMU has two Hitachi S3400 SEMs � both are able to do imaging and X-ray microanalysis. These instruments are fitted with secondary and backscatter electron detectors that allow for topographic and compositional (atomic number contrast) surface imaging of samples. These microscopes are routinely used for imaging from ~20x to ~20,000x magnification. The S3400 SEMs are predominantly used in high-vacuum mode, but also have a variable-pressure or �natural� mode that can be useful when imaging vacuum-sensitive specimens or specimens with conductivity problems. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | SEM 450 | The NanoSEM 450 is a field-emission scanning electron microscope (FE-SEM), which attains ultra-high imaging resolution without the specimen size restrictions of a conventional in-lens FE-SEM due to the advanced design of the electron optics. The NanoSEM 450---s Schottky field-emission source allows the user to achieve high imaging resolution at a range of kV, at both low (high-resolution imaging) and high (microanalytical imaging) currents. Secondary electron (SE) imaging can be undertaken in both field-free and immersion mode for comprehensive low-to-high resolution imaging of a variety of samples. The NanoSEM 450 is fitted with a retractable annular backscattered electron detector as well as a Bruker SDD-EDS detector for the convenient visualisation of compositional differences across the specimen surface. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | SEM 7001 | The JEOL 7001F is a Schottky field emission scanning electron microscope. The Schottky field emission electron gun produces a very finely focused, high current electron beam suitable for specialist high resolution microstructural analysis of inorganic materials. The -below lens- configured 7001F can accommodate specimens of up to 25mm in diameter, but specimen tilt is restricted because of the presence of a number of specialist microanalytical detectors within the specimen chamber. The 7001F is equipped with an Everhart-Thornley secondary electron detector which provides images of the surface topography. A backscattered electron detector can be used to obtain compositional contrast. A JEOL silicon drift energy dispersive x-ray analyser is interfaced to the column which allows micro-elemental analysis to be performed. In addition the 7001F is equipped with an Electron BackScatter Diffraction (EBSD) system which provides information about the surface structure and orientation of flat crystalline materials. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | SPM 5400 | JEOL JSPM 5400 MkII is an environmental Scanning Probe Microscope which is configured for observation and nano-characterisation of inorganic and device materials. The JEOL JSPM 5400 MkII eAFM has a number of piezo-scanners and a range of atomic force imaging modes which may be operated in ambient and high vacuum conditions (~10-6 Pa) enabling control of environmental conditions (pressure and temperature) during imaging. Some examples of the imaging modes available include contact, intermittent contact and non-contact topography imaging. The eAFM 5400 is able to measure features up to ~10 �m in height, dependent on the choice of piezo-scanner. | Basement Chemical Sciences Building (F10), B71
Electron Microscope Unit | SPM Icon | The Bruker Dimension ICON SPM operates in a scanning probe configuration and is therefore able to accommodate samples up to 210mm in diameter with a thickness up to 15mm. Depending on the sample, the scan size can be up to 100�m2 (with a maximum feature height of ~10�m). The ICON is contained within a very effective vibration isolation unit, which allows for Z resolution of ~1nm. The ICON is equipped with proprietary ScanAsyst� image optimization technology which makes the system very easy to use and allows for consistent results. In addition, the ICON can be operated in many advanced modes including Contact Mode, TappingMode and PeakForce QNM. | Basement Chemical Sciences Building (F10), B72
Electron Microscope Unit | TEM 1400 | The JEOL 1400 transmission electron microscope operates at accelerating voltages up to 120kV. The microscope is equipped with a high contrast lens configuration especially suited to imaging biological, medical or polymer specimens that lack electron density and inherent contrast. Specimens undergo preparation procedures to ensure they are 100 nm or thinner in order to transmit the electron beam. Dense regions within the specimen cause electrons to scatter and an aperture, positioned near the specimen in the electron column, prevents the scattered electrons from reaching the imaging plane. This results in light and dark regions or ----ontrast----within the TEM image. The microscope is equipped with a Gatan digital camera and Digital Micrograph software to facilitates the acquisition of digital images. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | TEM CM200 | The Philips CM200 field emission transmission electron microscope allows very high resolution images to be obtained from thin (electron transparent) materials. In a field emission gun a very strong electric field is used to extract electrons from a metal filament. This results in an electron beam which is very bright. Ultimately, this microscope allows individual atoms to be imaged. The CM200 TEM allows structural, crystallographic and elemental studies of materials. This microscope has a Bruker QUANTAX energy dispersive x-ray spectroscopy system interfaced to it, which can allow elemental analysis from regions as small as 10 nm in diameter to be obtained. In addition, it has a GATAN ORIUS camera for direct recording of digital images. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | TEM JEOL F200 | The JEOL F200 is a cold field emission gun (FEG) Scanning Transmission Electron Microscope (STEM) which was installed in 2017 and operates at either 80 or 200 kV. The high brightness and coherence of the cold field emission gun mean that this microscope is ideally suited for analytical microscopy of materials. The F200 has a lattice resolution of 0.16 nm in ADF STEM mode and 0.1 nm in TEM. The windowless silicon drift EDX detector enables elemental mapping. A high tilt holder and TEMography software allows the acquisition of high angle tilt series for 3-dimensional imaging (tomography) in TEM, STEM or EDX imaging modes. Facilities available on this instrument include: - Specimen holders: -> reinforced single tilt holder (X-tilt: +/-35 degrees) -> reinforced Be double tilt holder (X-tilt: +/-35 degrees, Y-tilt: +/-30 degrees) -> high angle single tilt holder for tomography (X-tilt: +/-80 degrees) - A 2k x 2k pixel (4 Megapixel) JEOL camera is fitted for TEM and diffraction - 4k x 4k pixel STEM images with simultaneous acquisition of bright field (BF) and annular dark field (ADF) images - A piezoelectric stage allows fine control of the sample stage (200 pm step size) - A windowless 100mm^2 JEOL silicon drift detector (SDD) with a Thermo Scientific Noran 7 processor enables the acquisition of energy dispersive x-ray (EDX) spectra. Combined with the STEM capabilities and drift correction of this instrument, this allows point spectra, line scans and spectral mapping with resolutions of approximately 0.5 nm. For more information contact Richard Webster (r.webster@unsw.edu.au) | B22, Basement Hilmer Building (E10)
Electron Microscope Unit | TEM Talos Arctica Cryo-TEM | The Helios G4 PFIB UXe is the fourth generation advanced PFIB DualBeam platform for large area sample preparation and analysis in materials characterization labs. The Helios G4 PFIB system combines the unique Elstar--- electron column with UC+ technology for high-resolution, sub 500eV imaging and endpointing with the high-performance PFIB 2.0 Xenon plasma ion column, for fast, precise, and Ga-free large area sample cross-sectioning and deprocessing. --- | High resolution FIB imaging delivering outstanding contrast and surface sensitive images. --- | B80, Basement Chemical Sciences Building (F10) | Nicholas Ariotti n.ariotti@unsw.edu.au
Electron Microscope Unit | TEM Talos Arctica Cryo-TEM | The Helios G4 PFIB UXe is the fourth generation advanced PFIB DualBeam platform for large area sample preparation and analysis in materials characterization labs. The Helios G4 PFIB system combines the unique Elstar--- electron column with UC+ technology for high-resolution, sub 500eV imaging and endpointing with the high-performance PFIB 2.0 Xenon plasma ion column, for fast, precise, and Ga-free large area sample cross-sectioning and deprocessing. --- | High resolution FIB imaging delivering outstanding contrast and surface sensitive images. --- | B80, Basement Chemical Sciences Building (F10) | Nicholas Ariotti n.ariotti@unsw.edu.au
Electron Microscope Unit | TEM Tecnai | The FEI Tecnai G2 20 TEM allows high resolution images to be obtained from thin (electron transparent) materials. The Tecnai TEM has a thermionic source (LaB6) and may be easily operated at different accelerating voltages. This makes it suitable for a wide range of specimens. The Tecnai TEM allows structural, crystallographic and elemental studies of materials. This microscope has a Bruker QUANTAX energy dispersive x-ray spectroscopy system interfaced to it and a BM Eagle digital camera for image acquisition. In addition, the microscope has a High Angle Annular Dark Field (HAADF) detector. | Basement Chemical Sciences Building (F10)
Electron Microscope Unit | Xenosput Coater
Nuclear Magnetic Resonance Facility | Bohr - X-band EPR | Bruker EMX X-Band ESR Spectrometer (Bohr) Recently upgraded console and cavity up to 10x greater sensitivity than our previous system. Used largely for: -Measuring radicals in solid and sol | Building F10 room F10
Nuclear Magnetic Resonance Facility | Hertz 500 MHz Solution NMR | Bruker Avance III 500 MHz NMR (Hertz) In the solution state: -Structural studies of organometallic complexes -Homo- and heterogenous catalysis of organic ring closures -Kinetics of organic r | Building F10 room B41
Nuclear Magnetic Resonance Facility | Pines 300 MHz Solid State NMR | Bruker Avance III 300 MHz Solid State NMR (Pines) Used largely for: -Measurements of materials from biomedical, environmental, and chemical labs. It is also equipped with: -A wide bore m | Building F10 room B41
Nuclear Magnetic Resonance Facility | Tesla 600 MHz Solution NMR | Bruker Avance III 600 MHz NMR (Tesla) Used largely for: -Structural investigations of bio-macromolecules, -QNMR of agrochemicals -Impurity profiling of pharmaceuticals -Drug-DNA interac | Building F10 room B41
Nuclear Magnetic Resonance Facility | Gyro 300 MHz Solution NMR | Bruker Avance III 300 MHz NMR (Gyro) Used largely for: o As a high through-put instrument for obtaining routine 1H, 13C, 31P and 19F spectra of synthetic materials. o Automated acquisition of 2D experiments with pulsed field gradients allows a high turnover of 2D experiments on the listed nuclei. It is also equipped with: o BACS-60 sample change o BBFO probe o Variable temperature BCU05 experiments from 298K to 373 K and experiments from 223K to 173K with liquid nitrogen.ultinuclear measurements for studying reaction kinetics | Building F10 room B41
Nuclear Magnetic Resonance Facility | Felix 700 MHz Solid State NMR | Bruker Avance III 700 MHz Solid State NMR (Felix) Dedicated to: -Multinuclear, solid state and solution NMR experiments and variable temperature capabilites down to -80 degrees In the soli | Building F10 room B41
Nuclear Magnetic Resonance Facility | Weber 400 MHz Solution NMR | Bruker Avance III 400 MHz NMR (Weber) Used largely for: -1D and 2D structural studies of organometallic complexes -Multinuclear measurements for studying kinetics reaction -Multiple sample a | Building F10 room B41
Nuclear Magnetic Resonance Facility | Ernst 600 MHz Cryo Solution NMR | Bruker Avance III 600 MHz Cryo NMR (Ernst) Used largely for: -metabonomics -structural investigations of bio-macromolecules -analysis in very small quantities of material | Building F10 room B41
Nuclear Magnetic Resonance Facility | Spex - Cryomill | Liquid nitrogen cool Spex milll | Building F10 room B55
Nuclear Magnetic Resonance Facility | Gauss 400 MHz Cryo Solution NMR | Used largely for: o 1D high-sensitivity, direct detection of many nuclei including 1H and 13C o Especially useful for 2D gradient enhanced experiments o Multiple sample acquisition using the auto-sampler It is equipped with: o Ultrashielded magnet o Nitrogen cooled Cyroprobe (Prodigy) o Optimised for multinuclear experiments from15N to 31P and including 19F o z-gradient for gradient enhanced experiments o Variable temperature experiments (-40 to +80oC) o Auto-sample changer (BACS-60) | Building F10 room B41
Nuclear Magnetic Resonance Facility | Rabi 400 MHz Solution NMR | Bruker Avance III 400 MHz NMR (New 400) Used largely for: o As a high through-put instrument for obtaining routine 1H, 13C, 31P and 19F spectra of synthetic materials. o Automated acquisition of 2D experiments with pulsed field gradients allows a high turnover of 2D experiments on the listed nuclei. It is also equipped with: o A 60 bay sample changer (SampleXpress) o BBFO z-gradient probe | Building F10 room B41
Spectroscopy Laboratory | inVia Raman (325, 442, 514nm) | The inVia is a Raman spectrometer coupled to a microscope. The microscope focuses a laser source onto specific areas of a sample then collects the light scattered off the surface of the sample and dir | Ground level, Room G31 Chemical Sciences Building (F10)
Spectroscopy Laboratory | Spotlight 400 FT-IR | The Spotlight is a Fourier transform infrared (FTIR) spectrometer fitted with with a microscope and attenuated total reflectance (ATR) accessories. | Ground level, Room G31 Chemical Sciences Building (F10)
Spectroscopy Laboratory | Lambda 35 UV/VIS | The Lambda is a double-beam UV-Visible spectrometer that measures light absorption from the visible to the ultraviolet region (1100 nm to 200 nm, 1.1 eV to 6.2 eV). A sample is usually made up to a kn | Ground level, Room G31 Chemical Sciences Building (F10)
Spectroscopy Laboratory | Chirascan Plus CD | Circular dichroism (CD) is the difference in the absorbance of left-handed circularly polarised light (L-CPL) and right-handed circularly polarised light (R-CPL) and occurs when a molecule contains on | Ground level, Room G31 Chemical Sciences Building (F10)
Spectroscopy Laboratory | inVia 2 Raman (532, 633, 785, 830nm) | The inVia 2 Raman uses a microscope to focus a 532, 633, 785 or 830nm laser onto a sample and the scattered light passes through a Raman spectrometer. | Ground level, Room G31 Chemical Sciences Building (F10)
Spectroscopy Laboratory | Lambda 1050 UV/Vis/NIR | The Lambda 1050 is a double-beam UV-Visible-NIR spectrometer that measures light absorption from the visible to the near infrared region (175 - 3300 nm, 0.38 eV to 7.1 eV). The instrument has 3 accessories: a 150mm integrating sphere for transmission and reflectance measurements of solids, a URA (universal reflectance accessory) and a 3-detector wide-band module. | Ground level, Room G31, Chemical Sciences Building (F10)
Spectroscopy Laboratory | Spectrum Two FT-IR | The Spectrum Two is a Fourier transform infrared (FTIR) spectrometer fitted with with transmission and attenuated total reflectance (ATR) accessories. | Ground level, Room G31, Chemical Sciences Building (F10)
Solid State & Elemental Analysis Unit | Acid Distillation Unit, Ball Mill, Centrifuge | The DuoPUR Acid Distillation Unit is a specialised distillation unit for preparing high purity nitric and hydrochloric acids suitable for trace elemental analysis. The RETSCH ball mill is used for the pulverization of soft, fibrous, hard and brittle materials. The mill produces a very high fineness, down to the submicron range, and enables more ready digestion to produce solutions for analysis. A centrifuge is available for separation of liquid extracts from solids or gels prior to analysis.
Solid State & Elemental Analysis Unit | SC-XRD Bruker APEXII | The Bruker Kappa Apex is fitted with a molybdenum sealed X-ray source and graphite monochromator to determine the molecular and crystal structure of materials from a single crystal. | KENC-F10-G-G63
Solid State & Elemental Analysis Unit | Cox Analytical XRF Corescanner | The ITRAX was installed in 2013. The instrument is designed for 1-dimensional ED-XRF elemental analysis of sediment and geological cores with step sizes down to 100 micron, and can handle cores (or any other sample <10 cm in width) up to 1.75 meters. Elemental anlaysis can be provided as X-ray counts, or as semiquantitative, or quantitative concentrations, depending on the sample type. The instrument enables high resolution visible and X-radiographic imaging, plus magnetic susceptibility for sediment core alignment.
Solid State & Elemental Analysis Unit | Dionex Ion Chromatography System | The Dionex IC is a computer controlled anion exchange column with autosampler which is used for rapid separation and quantification of inorganic anions to ppm levels. Typical analytes include fluoride, chloride, bromide, nitrate, chlorate, phosphate and sulfate.
Solid State & Elemental Analysis Unit | ESCALAB250i-XL | Thermo ESCALAB250Xi X-ray photoelectron spectrometer (XPS) with depth profile and elemental imaging capability. The instrument is located in F10:G61. Contact Dr Bill Gong (b.gong@unsw.edu.au) for XPS services. | G61,Chemical Sciences Bldg F10
Solid State & Elemental Analysis Unit | ICPMS and Laser Ablation ICPMS | The laboratory has one PerkinElmer quadrapole Nexion ICPMS (installed 2011) dedicated for liquid samples, and a second Nexion ICPMS integrated with an ESI-NewWave NWR213 Laser Ablation accessory (installed 2012). The LA-ICPMS is capable of sampling directly off solids using a pulsed 213 nm laser that can be focussed down to a 3 micron spot size for high-resolution, ultratrace elemental imaging and depth profiling of surfaces. Contact�Rabeya Akter�for more information about LA-ICPMS. Capabilities of the ICPMS include: � - Rapid multi-element coverage - Semiquantitative isotopic information - Low detection limits - Wide Linear Dynamic Range - High sample throughput - Semi-quantitative, as well as quantitative analysis � Both ICPMS instruments have a -Universal Cell- that combines collision cell and reaction cell technologies to help remove polyatomic and isobaric interferences. The collision cell uses a gas to remove interferences by size descrimination, while a reaction cell introduces gasses known to react with polyatomic species. A practical example of this technology is the ability to measure analytes (such as copper) at low levels in seawaters.
Solid State & Elemental Analysis Unit | Lachat Flow Injection Analyser | The Lachat FIA can be used for high-throughput spectrophotometric analysis of a range of analytes. The system is currently fitted with three manifolds which enable analysis of ammonia in soil or seawater, and nitrate/nitrite analysis. The combination of total nitrogen analysis using the NC2100S (described above) and the FIA enables analysis for organic and inorganic nitrogen in aqueous samples.
Solid State & Elemental Analysis Unit | LC-OCD-Dual | The ARC-LIEF and MREII funded LC-OCD systems are used for trace analysis of total carbon in water samples. Drinking water, or environmentally contaminated samples might be analysed using LC-OCND. The systems use size-exclusion chromatography to separate classes of dissolved organic materials (organic acids, bases and neutral species) then uses a catalysed UV oxidation to measure low levels (~100ppb) of total carbon and nitorgen in the eluent.�Understanding your sample is critical to get good results and avoid damaging the size-exclusion column. | Room B39, Basement of Chemical Science Building (F10)
Solid State & Elemental Analysis Unit | LC-OCD-Single | The ARC-LIEF and MREII funded LC-OCD systems are used for trace analysis of total carbon in water samples. Drinking water, or environmentally contaminated samples might be analysed using LC-OCND. The systems use size-exclusion chromatography to separate classes of dissolved organic materials (organic acids, bases and neutral species) then uses a catalysed UV oxidation to measure low levels (~100ppb) of total carbon and nitorgen in the eluent.�Understanding your sample is critical to get good results and avoid damaging the size-exclusion column. | Room B39, Basement of Chemical Science Building (F10)
Solid State & Elemental Analysis Unit | Milestone Microwave Digestion System | Microwave Digestion is a sample preparation technique for trace and ultra-trace analysis. The samples are digested in a closed vessel in a microwave oven. The vessels are made of TFM which provides the best mechanical and thermal stability at temperatures up to 200 degC and high pressure. The sealed vessel eliminates the chance of contamination and losses of more volatile metal species. The electronic controls allow very reproducible digestion conditions. Some capabilities of the Milestone include: - Closed-vessel microwave digestion, eg. for analysis of volatile metals. - Quick and clean digestion for a broad range of samples eg. plants, soil, metal, alloys. - Quick solvent extraction.
Solid State & Elemental Analysis Unit | NC2100S Total Carbon and Total Nitrogen Analyser | The AnalytikJena NC2100S enables trace elemental analysis of total carbon and nitrogen in water samples. The sample volume required is 10 mL, and suspensions can be analysed and stirring on the autosampler is available to ensure a representative sample is injected. The system uses an oxidation analysis to measure low levels of total carbon (~100ppb) and total nitrogen (equivalent to a Kjeldahl analysis) in a sample.
Solid State & Elemental Analysis Unit | PANalytical PW2400 Sequential WDXRF Spectrometer | The PW2400 was purchased in 1996 and has a�102 position sample changer for unattended operation of large batches of samples. The instrument runs�SuperQ and Uniquant software and is designed for qualitative, semi-quantitative, and quantitative analysis of a large number of elements, from beryllium to uranium. Trace element levels from 10 ppm to major elements up to 100%.
Solid State & Elemental Analysis Unit | Perkin Elmer OPTIMA 7300 ICPOES Instruments | The laboratory has two 7300 ICP Optical Emission Spectrometers (installed 2009 and 2010). The 7300 has a -dual-view- capability that allows selection of axial or radial viewing modes. The axial viewing configuration improves detection limits by providing high optical throughput and better signal-to-background ratios. For the most difficult high matrix samples, the radially viewed plasma offers the benefits of robust operation with less interference. The Segmented-array, Charged-coupled-device Detector (SCD) is able to detect over 5000 emission lines from 167 to 782nm with simultaneous background measurement. The spectrometer can provide rapid, simultaneous measurement of 60 elements in less than 1 minute. Both instruments are fitted with an auto-samplers for unattended operation. Speed of analysis largely depends on precision requirement and number of analytes in the method, 2-4 minutes per sample is typical.
Solid State & Elemental Analysis Unit | Stylus Profiler |  | Room M64 Chemical Sciences Bldg F10
Solid State & Elemental Analysis Unit | Time of Flight Secondary Ion Mass Spectrometer (TOFSIMS) | The ION-TOF�TOF.SIMS 5 �was installed in to our lab in May 2015.�The instrument is located in F10:G61. Contact Dr Bill Gong (b.gong@unsw.edu.au) for more details on its capabilities.
Solid State & Elemental Analysis Unit | XRD-Aeris | Aeris is a desktop XRD as an alternative of MPD | Room G65, Chemical Science Building (F10)
Solid State & Elemental Analysis Unit | XRD-Bruker-D8-TXS | This is a flexible instrument with a rotating copper anode X-ray source (5-6 kW) that enables a higher X-ray flux at your sample than is possible with the sealed X-ray sources on the other instruments | KENC-F10-G-G65
Solid State & Elemental Analysis Unit | XRD-Empyrean I | The Empyrean Thin-Film XRD Xpert Materials Research diffractometer (MRD) system provides similar capability to the MRD (above) for thin-film analysis. | KENC-F10-G-G65
Solid State & Elemental Analysis Unit | XRD-Empyrean II |  | Room G65, Chemical Science Building (F10)
Solid State & Elemental Analysis Unit | XRD-Empyrean III | Empyrean III is a powder diffractometer with Ag X-ray source (wavelength 0.56 angstrom) and cutting-edge detector (GaliPIX). The detector has 501 channels and covers 7.16 degree in 2Theta. Thus it appears low background and high intensity. It will be used for some of in-situ XRD measurement. | KENC-F10-G-G65
Solid State & Elemental Analysis Unit | XRD-MPD-Scherrer | The PANalytical Xpert Multipurpose X-ray Diffraction System (MPD) is a theta to theta goniometer system and is programmable slits, curved monochromator, automatic sample changer, used for powder diffr | KENC-F10-G-G65
Solid State & Elemental Analysis Unit | XRD-MRD-Debey | The PANalytical Xpert Materials Research diffractomter (MRD) system is the most flexible X-ray diffraction system, and equipped with X-ray mirror, (220) Ge monochromator, X-ray lens, mono-capillary, t | KENC-F10-G-G65
Solid State & Elemental Analysis Unit | XRD-Rigaku-SmartLab | SmartLab is a multipurpose diffractometer, from Rigaku Japan. It equipped 9kW rotating anode and thin film stage. Currently it is set to use for high resolution XRD. | Room G65, Chemical Science Building (F10)
Solid State & Elemental Analysis Unit | Elementar varioMACRO cube (CHNS)
Solid State & Elemental Analysis Unit | Elementar vario Oxy cube (O)
Solid State & Elemental Analysis Unit | SC-XRD Bruker D8 Quest
Solid State & Elemental Analysis Unit | PANalytical AXIOS Advanced WDXRF Spectrometer
Solid State & Elemental Analysis Unit | Leica M205C microscope
Solid State & Elemental Analysis Unit | Nanocalc Thin FIlm Analyser
Solid State & Elemental Analysis Unit | Bruker Tornado micro-XRF
Solid State & Elemental Analysis Unit | Panalytical Epsilon ED-XRF
Solid State & Elemental Analysis Unit | Olympus Handheld XRF
Solid State & Elemental Analysis Unit | Essa Rock Crushing Ring Mill
Solid State & Elemental Analysis Unit | McCrone micronising mill